IMPRESS SOLAR POINT

Building No. 454, Qasadpura, Daryapur Banosa

Dist- AKOLA , Pin Code. 444401

Contact No: {{vendor_phone}}

GSTIN : 27AUEPH3173P1Z8                                                              Email - {{vendor_email}}

Islanding Certificate

Islanding of grid interactive renewable energy generation system located at consumer premises along with representative of additional executive engineer/ Assistant engineer/ Junior engineer MSEDCL Subdivision Akola and in presence of consumer/ Representative of consumer to access the Islanding facility of grid interactive renewable energy generation system.

Details of Applicant Consumer:

Name of Consumer :- {{customer_name}}

Address :- {{customer_address}}

Consumer Number :- {{consumer_number}}

Sanction Load :- {{sanctioned_capacity}}

Voltage Level :- {{grid_voltage}}

Application Number and Date :- {{application_number}} {{application_date}}

Registration Fees paid :- {{registration_fees}}

Details of Solar PV System Installed

|  | Make | Capacity | Phase | Grid Voltage | No. of Panels | Total Capacity |
| --- | --- | --- | --- | --- | --- | --- |
| Inverter | {{inverter_make}} {{inverter_model}} | {{inverter_capacity_display}} | {{inverter_phase}} | {{grid_voltage_display}} | - | - |
| Solar Panels | {{module_make}} {{module_model}} | {{module_total_capacity}} | - | - | {{module_quantity}} x {{module_wattage_display}} | {{module_total_capacity_display}} |

To access the islanding protection utility grid supply to inverter is switched of an observed fallowing

- Power output and inverter display (before switching of grid supply) {{power_output_before}} power output at inverter.

- Power output at inverter display ( after switching off grid supply) {{power_output_after}}.

- Voltage Measure at interconnection all landing points that is MCB position terminals under

| Phase Measured | At Terminal Connection to Grid side (volt) | At Terminal Connection to Inverter Side (Volt) |
| --- | --- | --- |
| R-N | {{grid_side_voltage}} | {{inverter_side_voltage}} |

From above it is observed that inverter has automatically shutdown the power output when disconnection with utility power grid his above mention install rooftop solar PV system can be connected to MSEDCL grid as per present condition. The equipment connected to MSEDCL distribution system shall be complaint with relevant international IEEE/Indian standards BIS as the case maybe and installation of electrical equipment shall comply with the requirements specified by the central electricity authority regarding safety and electricity supply the above parameters are observed on date {{observation_date}}